## Chemical Register
6&8 Parramatta Square (PS4) - Chemical Register
Product Name | Vendor / Manufacturer | Quantity | Location |  |  | MSDS Information | [7 empty] | Consequence | Likelihood | Risk Rating | Safe Work Procedure (SWP) Requirement | Comments/SWP
|  |  |  | U.N. Number (Item 14 of SDS) | HAZCHEM Code (Item 14 of SDS) | GHS Group / Signal Word | SDS Issue Date (DD/MM/YYYY) | Hazardous Substance | Dangerous Good | Hazardous Substance / Dangerous Goods Class | Description | Packing group (Item 14 of SDS) | Subsidiary Risk(s)
Hydro 225 | HydroChem | 15 | Level 51 Cooling tower dosing area | 1760 | 2X | Danger | 2021-06-01 | Yes | Yes | 8 | Corrosive | III |  | Moderate | Unlilkey | Medium | SWP may be required
360-505CT Cooling Tower Inhibitor | 360 Water | 135 | Level 51 Cooling tower dosing area | 3266 | 2X | Danger | 2020-10-22 | Yes | Yes | 8 | Corrosive | III |  | Moderate | Unlikely | MEDIUM | SWP may be required | No SDS available. Copy of providers SDS to be retained onsite. Data derived directly from supplier.
360-601BIO Isothiazoline 4% | 360 Water | 135 | Level 51 Cooling tower dosing area | 3265 | 2X | Danger | 2020-10-22 | Yes | Yes | 8 | Corrosive | II |  | Moderate | Unlikely | MEDIUM | SWP may be required
360-57cc Closed Loop Inhibitor | 360 Water | 30 | Level 51 Cooling tower dosing area | 1760 | 2X | Danger | 2020-10-22 | Yes | Yes | 8 | Corrosive | II |  | Moderate | Unlikely | MEDIUM | SWP may be required
BCDMH Tablets (650 BIO) | Redox | 45 | Level 51 Cooling tower dosing area | 3085 | 1W | Danger | 2023-03-02 | Yes | Yes | 5.1 | Oxidizing Agent | III |  | Major | Unlikely | MEDIUM | SWP may be required
Antibacterial Hand Wash | Central Cleaning Supplies | 5 | Level 50 tenancy cleaners cupboard | Unknown |  |  | 2021-01-20 | [10 empty] | No data available to assess. SDS expiry date derived from cleaners chemical register.
Diesel | United Petroleum | 5000 | Level 26 Mezzanine generator rooms | 3082 | N/A | Danger | 2017-02-23 | Yes | Yes | 9 | Miscellaneous Dangerous Goods | III |  | Moderate | Rare | LOW | SWP is not required | SDS expired. Copy of providers current SDS to be obtained and retained.
Diesel | United Petroleum | 1000 | Level 26 Mezannine Fire Hydrant and Sprinkler Pump Room | 3082 | N/A | Danger | 2017-02-23 | Yes | Yes | 9 | Miscellaneous Dangerous Goods | III |  | Moderate | Rare | LOW | SWP is not required | SDS expied. Copy of providers current SDS to be obtained and retained.
Exit Carpet Cleaner | Agar | 15 | B1 Loading Dock Cleaners Store | N/A | Nil | Warning | 2020-10-01 | Yes | No |  |  |  |  | Minor | Unlikely | LOW | SWP is not required
Mr Steel | Whitely | 5 | B1 Loading Dock Cleaners Store | N/A | N/A | N/A | 2021-08-01 | No | No |  |  |  |  | Insignificant | Unlikely | LOW | SWP is not required
Halo Glass Cleaner | Research Products | 5 | B1 Loading Dock Cleaners Store | N/A | N/A | Warning | 2021-09-01 | Yes | No |  |  |  |  | Minor | Unlikely | LOW | SWP is not required
Aqua Foam liquid hand wash | Bradley Care | 5 | B1 Loading Dock Cleaners Store | N/A | N/A |  | 2022-03-15 | No | No |  |  |  |  | Minor | Rare | Low | SWP is not required
TASKI Cream R7 | Diversity | 5 | B1 Loading Dock Cleaners Store | N/A | N/A | Warning | 2020-04-14 | Yes | No |  |  |  |  | Minor | Unlikely | LOW | SWP is not required
Exit Carpet Cleaner | Agar | 10 | B1 Loading Dock Cleaners Store | N/A | N/A | Warning | 2020-10-01 | Yes | No |  |  |  |  | Minor | Unlikely | LOW | SWP is not required
G-Solve | Agar | 5 | B1 Loading Dock Cleaners Store | N/A | N/A | Danger | 2020-08-01 | Yes | No |  |  |  |  | Minor | Unlikely | LOW | SWP is not required
Antibacterial Hand Wash | Elyse Paper Products | 5 | B1 Loading Dock Cleaners Store | Unknown | [13 empty] | No SDS available. Copy of providers SDS to be retained onsite.
Aqua Clean | The Urinal Shop | 105 | B1 Loading Dock Cleaners Store | N/A | N/A | N/A | 2020-02-01 | No | No |  |  |  |  | Insignificant | Unlikely | LOW | SWP is not required
B-Brite Surface Cleaner | Research Products | 75 | B1 Loading Dock Cleaners Store | N/A | N/A |  | 2021-09-01 | No | No |  |  |  |  | Insignificant | Unlikely | LOW | SWP is not required
Hand Sanitiser Liquid | Sanatiz | 30 | B1 Loading Dock Cleaners Store | 1170 | 2YE | Danger | 2020-08-13 | Yes | Yes | 3 | Flammable Liquid | II |  | Moderate | Unlikely | MEDIUM | SWP may be required
White Mist Shampoo and Body Wash | Cleverland | 5 | B1 Loading Dock Cleaners Store | Unknown | [13 empty] | No SDS available. Copy of providers SDS to be retained onsite.
Go Getter | Diversity | 10 | B1 Loading Dock Cleaners Store | N/A | N/A | Warning | 2021-11-08 | Yes | No |  |  |  |  | Minor | Unlikely | LOW | SWP is not required
Cleanair | Diversity | 5 | B1 Loading Dock Cleaners Store | N/A | N/A | Warning | 2022-12-16 | Yes | No |  |  |  |  | Minor | Unlikely | LOW | SWP is not required
VDS | Actichem | 5 | B1 Loading Dock Cleaners Store | 1170 | 3YE | Danger | 2020-08-13 | Yes | Yes | 3 | Flammable Liquid | II |  | Moderate | Unlikely | MEDIUM | SWP may be required
ph-7 | Agar | 5 | B1 Tower Waste Room | N/A | N/A | Danger | 2020-04-01 | Yes | No |  |  |  |  | Minor | Unlikely | LOW | SWP is not required
Diesel | United Petroleum | 30000 | B4 diesel tank room 3 x 10,000 litre tanks | 3082 | N/A | Danger | 2017-02-23 | Yes | Yes | 9 | Miscellaneous Dangerous Goods | III |  | Moderate | Rare | LOW | SWP is not required | SDS expired. Copy of providers current SDS to be obtained and retained.
Once Off | Agar | 5 | Level P3 Cleaner's Store | 1719 | 2R | Danger | 2020-08-31 | Yes | Yes | 8 | Corrosive | II |  | Moderate | Unlikely | MEDIUM | SWP may be required
Cleanair | Diversity | 5 | Level P3 Cleaner's Store | N/A | N/A | Warning | 2022-12-16 | Yes | No |  |  |  |  | Minor | Unlikely | LOW | SWP is not required
View Quick | Diversey | 15 | Level P3 Cleaner's Store | N/A | N/A |  | 2023-09-01 | No | No |  |  |  |  | Minor | Unlikely | LOW | SWP is not required
Pearl Hand and Body Wash | Diversey | 50 | Level P3 Cleaner's Store | Unknkown | [13 empty] | No data available to assess.
Mr Steel | Whitely | 10 | Level P3 Cleaner's Store | N/A | N/A | N/A | 2021-08-01 | No | No |  |  |  |  | Insignificant | Unlikely | LOW | SWP is not required
Exit Carpet Cleaner | Agar | 30 | Level P3 Cleaner's Store | N/A | Nil | Warning | 2020-10-01 | Yes | No |  |  |  |  | Minor | Unlikely | LOW | SWP is not required
Pearl Marine | Bradleycar |  | Level P3 Cleaner's Store | Unknkown | [13 empty] | No data available to assess.
Antibacterial Hand Wash | Central Cleaning Supplies | 20 | Level P3 Cleaner's Store |  |  |  | 2021-01-20
Dream | Chemrose | 40 | Level P3 Cleaner's Store | N/A | N/A | Warning | 2022-04-30 | Yes | No |  |  |  |  | Moderate | Unlikely | MEDIUM | SWP may be required
Green Detergent | Central Cleaning Supplies |  | Level P3 Cleaner's Store | Unknkown | [13 empty] | No data available to assess.
Yes
Volumes
Instructions

## Volumes
Total Volumes of Dangerous Goods
Dangerous Goods Class | Packing Group | Total Quantity | Placarding Required? | Manifest Required? | Fire Protection Quantity?
2.1 - Flammable Gas | - |  | No | No | No
2.2 - Non-Flammable Non-Toxic Gas | - | 0 | No | No | No
2.3 - Toxic Gas | - | 0 | No | No | No
3 - Flammable Liquids | I | 0 | No | No | No
| II | 0 | No | No | No
| III | 0 | No | No | No
4.1 - Flammable Solid | I | 0 | No | No | No
| II | 0 | No | No | No
| III | 0 | No | No | No
4.2 - Spontaneously Combustible | I | 0 | No | No | No
| II | 0 | No | No | No
| III | 0 | No | No | No
4.3 - Dangerous When Wet | I | 0 | No | No | No
| II | 0 | No | No | No
| III | 0 | No | No | No
5.1 - Oxidising Agent | I | 0 | No | No | No
| II | 0 | No | No | No
| III | 45 | No | No | No
5.2 - Organic Peroxide | I | 0 | No | No | No
| II | 0 | No | No | No
| III | 0 | No | No | No
6.1 - Toxic | I | 0 | No | No | No
| II | 0 | No | No | No
| III | 0 | No | No | No
8 - Corrosive | I | 0 | No | No | No
| II | 170 | No | No | No
| III | 150 | No | No | No
9 - Miscellaneous | II | 0 | No | No | No
| III | 36000 | Yes | Yes | Yes
Total Mixed Classes of Dangerous Goods | - | 36365 | Yes | Yes | Yes
Chemical Register
Instructions

## Instructions
Chemical Register Instructions
The Workplace Manager and/or Management OHS Nominee are to ensure that all dangerous goods and hazardous substances stored or handled in the workplace are entered into a Chemical Register and Material Safety Data Sheets are obtained.
The Chemical Register is to be kept up-to-date and reviewed when new chemicals are introduced into the workplace. The Workplace Manager and/or Management OHS Nominee must maintain a hard copy collection of current MSDS (issued within 5 years) from the manufacturer or supplier of all dangerous goods and hazardous substances stored and used in the workplace.
As a minimum, a hard copy of the register along with the appropriate MSDS are to be kept in a central location known to employees.
Where a MSDS has not been provided by the supplier of the product, one may be obtained from the supplier or alternatively from Chemwatch (a link to Chemwatch can be found at the bottom of the home page of the Department's Health, Safety and WorkSafe website).
Risk Assessment and Additional Information
Entering MSDS Details
Entering Quantity and Location
Total Quantities of Dangerous Goods
Changing View and Setting the Print Area
Using the Auto filter
Protected Areas of the Register
Entering Chemical Details
Instructions Introduction
Example Chemical Types
Volumes
Chemical Register

## Instructions 1
Chemical Register Instructions
Entering Chemical Details
Enter the product name and the vendor/manufacturer. It may also be useful to include specific details of the product e.g. 'Ajax Spray and Wipe Citrus Fresh' instead of 'Spray and Wipe', this will help you locate the MSDS.
Risk Assessment and Additional Information
Entering MSDS Details
Entering Quantity and Location
Total Quantities of Dangerous Goods
Changing View and Setting the Print Area
Using the Auto filter
Protected Areas of the Register
Entering Chemical Details
Instructions Introduction
Example Chemical Types
Volumes
Chemical Register

## Instructions 2
Chemical Register Instructions
Entering MSDS Details
You need to review a MSDS for each chemical that is being stored and/or used in the workplace or is being purchased for the first time. This will aid you in determining whether the chemical is a hazardous substance and/or dangerous good and what control measures may be appropriate in order to manage the storage, use and disposal risks of the chemical.
Risk Assessment and Additional Information
Entering MSDS Details
Entering Quantity and Location
Total Quantities of Dangerous Goods
Changing View and Setting the Print Area
Using the Autofilter
Protected Areas of the Register
Entering Chemical Details
Instructions Introduction
Example Chemical Types
Volumes
Chemical Register

## Instructions 3
Chemical Register Instructions
Entering Quantity and Location
Risk Assessment and Additional Information
Entering MSDS Details
Entering Quantity and Location
Total Quantities of Dangerous Goods
Changing View and Setting the Print Area
Using the Autofilter
Protected Areas of the Register
Entering Chemical Details
Instructions Introduction
Example Chemical Types
Volumes
Chemical Register

## Instructions 4
Chemical Register Instructions
Risk Assessment and Additional Information
Dangerous goods and/or hazardous substances are to be assessed to determine the level of risk associated with the storing and usage of these chemicals on site.
Likelihood
Consequence
Risk Matrix
Key
Risk Assessment and Additional Information
Entering MSDS Details
Entering Quantity and Location
Total Quantities of Dangerous Goods
Changing View and Setting the Print Area
Using the Auto filter
Protected Areas of the Register
Entering Chemical Details
Instructions Introduction
Example Chemical Types
Volumes
Chemical Register
Evaluate the likelihood of an incident occurring associated with the use and/or storage of the dangerous good and/or hazardous substance in the workplace.
Evaluate the consequence of the injury associated with the use and/or storage of the dangerous good and/or hazardous substance in the workplace. Reference to the MSDS can be made for details of potential injuries in the use of the dangerous good and/or hazardous substance.
Based on the level of risk (which is automatically determined by finding the intersection between the chosen likelihood and consequence) a SWP is required if the level of risk is identified to be high or extreme.
Enter any supplementary information here such as:
- Specific SWP developed
- Other specific controls (either implemented or yet to be implemented)
- Local policies
- Location of resources e.g. server path
- Ordering/product codes of chemicals
- Information about MSDS availability
- Any other notes/comments
Based on the assessment of the chemical, a SWP may be required. These cells will tell you if:
- A SWP is required;
- SWP may be required as determined on a case by case basis; or
- SWP not required.

## Instructions 5
Chemical Register Instructions
Total Quantities
Based on quantities of dangerous goods entered in the Chemical Register a total quantity summary will automatically highlight whether you need specific legislated controls in the workplace. Should this table indicate that you require placarding, a manifest or fire protection measures, you can contact the WorkSafe Advisory Service on 1800 136 089 for further information.
Risk Assessment and Additional Information
Entering MSDS Details
Entering Quantity and Location
Total Quantities of Dangerous Goods
Changing View and Setting the Print Area
Using the Autofilter
Protected Areas of the Register
Entering Chemical Details
Instructions Introduction
Example Chemical Types
Volumes
Chemical Register
you can contact the WorkSafe Advisory Service on 1800 136 089 for further information.

## Instructions 6
Chemical Register Instructions
Changing View and Setting the Print Area
Risk Assessment and Additional Information
Entering MSDS Details
Entering Quantity and Location
Total Quantities of Dangerous Goods
Changing View and Setting the Print Area
Using the Auto filter
Protected Areas of the Register
Entering Chemical Details
Instructions Introduction
Example Chemical Types
In 'Page Break Preview', once you have entered all applicable chemicals into the Chemical Register, you can move this blue line to set the print area.
If the Register stretches over more that one page, a dashed blue line will represent the page breaks.
Once you select the 'View' tab, you can switch between views here.
You can change the way that you view the worksheet.
Often the best way to work on the sheet is in 'Normal' view but you may need 'Page Break View' to determine what it will look like when printing.
This can be done by selecting the 'View' tab .
Volumes
Chemical Register

## Instructions 7
Chemical Register Instructions
Using the Auto filter
Risk Assessment and Additional Information
Entering MSDS Details
Entering Quantity and Location
Total Quantities of Dangerous Goods
Changing View and Setting the Print Area
Using the Auto filter
Protected Areas of the Register
Entering Chemical Details
Instructions Introduction
Example Chemical Types
These tabs allow you to filter the information entered into the Register. This lets you view only those chemicals that you are interested in at the time e.g. only dangerous goods or only the chemicals in the cleaners cupboard. Remember, you can apply filters to as many of the columns you want.
Once you select a filter arrow, a drop down box will appear. You will be able to select any or all of the categories of information entered into that column. Only items that you have entered somewhere in that column will be available for filtering.
Volumes
Chemical Register

## Instructions 8
Chemical Register Instructions
Protected Areas of the Register
Risk Assessment and Additional Information
Entering MSDS Details
Entering Quantity and Location
Total Quantities of Dangerous Goods
Changing View and Setting the Print Area
Using the Auto filter
Protected Areas of the Register
Entering Chemical Details
Instructions Introduction
Example Chemical Types
To ensure that the formulas in the above columns are not inadvertently deleted, the worksheet has been 'Protected'. If you would like delete a row or sort the data, you will have to unprotect the sheet by selecting the 'Review' tab and clicking 'Unprotect Sheet'.
It is recommended that you do not insert new rows as the required formulas will not be present in the new row.
Once you have finished deleting a row , sorting the data or inserting a row, you should protect the sheet again. This can be done by clicking 'Protect Sheet' (in the 'Review' tab) and selecting 'OK' in the pop-up window.
Volumes
Chemical Register

## Example Chemical Types
Chemical Register Instructions
Example Chemical Register
The following is an example Chemical Register showing multiple chemical types. It demostrates scenarios that you may encounter when developing a Chemical Register for your workplace.
Example Chemical Register
Risk Assessment and Additional Information
Entering MSDS Details
Entering Quantity and Location
Total Quantities of Dangerous Goods
Changing View and Setting the Print Area
Using the Autofilter
Entering Chemical Details
Instructions Introduction
Protected Areas of the Register
Volumes
Chemical Register

## Hide Me (hidden)
Dangerous Goods Class | Packing group | Dangerous Goods Class | Placarding Quantity | Manifest Quantity | Fire Protection Quantity | DG Class | Packaging Group Range Names | Packaging Group Lists Defined |  |  | Workplace Type | Workplace Type Range Names | Primary | Secondary | Office | Camp | Likelihood |  |  | Risk Matrix
3 | I | 2.1 - Flammable Gas | 500 | 5000 | 5000 | N/A | Not_applicable | Not_applicable | List_3 | List_2 | Primary School | Primary | Administration | Administration | Administration | Administration | Descriptor | Level | Definition |  | Consequence
Dangerous Goods Class | Packing group | 2.2 - Non-Flammable Non-Toxic Gas | 2000 | 10000 | 20000 | 1 | Not_applicable | N/A | I | II | Secondary School | Secondary | Staff Room | Staff Room | Kitchen | Kitchen | Rare | Level 1 | May occur, sometime (“once in a life time / once in a hundred years”) | Likelihood | Insignificant | Minor | Moderate | Major | Severe
3 | II | 2.3 - Toxic Gas | 50 | 500 | 2000 | 2.1 | Not_applicable |  | II | III | P-8 College | Secondary | Kitchen | Kitchen | Cleaners | Dormitories | Unlikely | Level 2 | May occur somewhere within DEECD over an extended period of time | Almost Certain | MEDIUM | HIGH | EXTREME | EXTREME | EXTREME
Dangerous Goods Class | Packing group | 3 - Flammable Liquids | 50 | 500 | 2000 | 2.2 | Not_applicable |  | III |  | P-12 College | Secondary | Classrooms | Classrooms | Maintenance | Cleaners | Possible | Level 3 | May occur several times across DEECD or a region over a period of time | Likely | MEDIUM | MEDIUM | HIGH | EXTREME | EXTREME
3 | III |  | 250 | 2500 | 10000 | 2.3 | Not_applicable |  |  |  | Specialist School | Secondary | Cleaners | Cleaners | General/All Areas | Maintenance | Likely | Level 4 | May be anticipated multiple times over a period of time May occur once every few repetitions of the activity or event | Possible | LOW | MEDIUM | MEDIUM | HIGH | EXTREME
Dangerous Goods Class | Packing group |  | 1000 | 10000 | 20000 | 3 | List_3 |  |  |  | Regional/Central Office | Office | Maintenance | Maintenance | Other | Pool | Almost Certain | Level 5 | Prone to occur regularly Is anticipated for each repetition of the activity | Unlikely | LOW | LOW | MEDIUM | MEDIUM | HIGH
4.1 | I | 4.1 - Flammable Solid | 50 | 500 | 2000 | 4.1 | List_3 |  |  |  | Outdoor Education/Camp | Camp | Art Room | Art Room |  | General/All Areas |  |  |  | Rare | LOW | LOW | LOW | MEDIUM | MEDIUM
Dangerous Goods Class | Packing group |  | 250 | 2500 | 10000 | 4.2 | List_3 | [5 empty] | Pool | Science |  | Other | Consequence
4.1 | II |  | 1000 | 10000 | 20000 | 4.3 | List_3 | [5 empty] | General/All Areas | Automotive |  |  | Descriptor | Level | Definition
Dangerous Goods Class | Packing group | 4.2 - Spontaneously Combustible | 50 | 500 | 2000 | 5.1 | List_3 | [5 empty] | Other | Woodwork |  |  | Insignificant | Level 1 | No Injury | Extreme | SWP is required
4.1 | III |  | 250 | 2500 | 10000 | 5.2 | List_3 | [6 empty] | Metalwork |  |  | Minor | Level 2 | Injury/ill health requiring first aid | High | SWP is required
Dangerous Goods Class | Packing group |  | 1000 | 10000 | 20000 | 6.1 | List_3 | [6 empty] | Home Economics |  |  | Moderate | Level 3 | Injury/ill health requiring medical attention | Medium | SWP may be required
4.2 | I | 4.3 - Dangerous When Wet | 50 | 500 | 2000 | 7 | List_3 | [6 empty] | Pool |  |  | Major | Level 4 | Injury/ill health requiring hospital admission | Low | SWP is not required
Dangerous Goods Class | Packing group |  | 250 | 2500 | 10000 | 8 | List_3 | [6 empty] | General/All Areas |  |  | Severe | Level 5 | Fatality
4.2 | II |  | 1000 | 10000 | 20000 | 9 | List_2 | [6 empty] | Other
Dangerous Goods Class | Packing group | 5.1 - Oxidising Agent | 50 | 500 | 2000
4.2 | III |  | 250 | 2500 | 10000
Dangerous Goods Class | Packing group |  | 1000 | 10000 | 20000
4.3 | I | 5.2 - Organic Peroxide | 50 | 500 | 2000
Dangerous Goods Class | Packing group |  | 250 | 2500 | 10000
4.3 | II |  | 1000 | 10000 | 20000
Dangerous Goods Class | Packing group | 6.1 - Toxic | 50 | 500 | 2000
4.3 | III |  | 250 | 2500 | 10000
Dangerous Goods Class | Packing group |  | 1000 | 10000 | 20000
5.1 | I | 8 - Corrosive | 50 | 500 | 2000
Dangerous Goods Class | Packing group |  | 250 | 2500 | 10000
5.1 | II |  | 1000 | 10000 | 20000
Dangerous Goods Class | Packing group | 9 - Miscellaneous Dangerous Goods | 1000 | 10000 | 20000
5.1 | III |  | 5000 | 10000 | 20000
Dangerous Goods Class | Packing group
5.2 | I | Item 4 Mixed Classes of Dangerous Goods | 5000 | 10000 | 20000
Dangerous Goods Class | Packing group
5.2 | II
Dangerous Goods Class | Packing group
5.2 | III
Dangerous Goods Class | Packing group
6.1 | I
Dangerous Goods Class | Packing group
6.1 | II
Dangerous Goods Class | Packing group
6.1 | III
Dangerous Goods Class | Packing group
8 | I
Dangerous Goods Class | Packing group
8 | II
Dangerous Goods Class | Packing group
8 | III
Dangerous Goods Class | Packing group
9 | II
Dangerous Goods Class | Packing group
9 | III